Appendix No. 1.5 to the Resolution No. 7/2023

of the Rector of the University of Rzeszów

SYLLABUS

regarding the qualification cycle FROM ………TO…..

Academic year 2025/2026

1. Basic Course/Module Information

| Course/Module title | Basic physical principles of X-ray diagnostics |
| --- | --- |
| Course/Module code * |  |
| Faculty (name of the unit offering the field of study) | Faculty of Exact and Technical Sciences |
| Name of the unit running the course | Institute of Physics |
| Field of study | Diagnostic systems in medicine |
| Qualification level | First-cycle studies |
| Profile |  |
| Study mode | Full-time |
| Year and semester of studies | 2, winter semester |
| Course type |  |
| Language of instruction | English |
| Coordinator | Wojciech Szajna, Dr. Sci. (Hab.), Associate Professor |
| Course instructor | Wojciech Szajna, Dr. Sci. (Hab.), Associate Professor |

* - as agreed at the faculty

1.1.Learning format – number of hours and ECTS credits

| Semester (n0.) | Lectures | Classes | Colloquia | Lab classes | Seminars | Practical classes | Internships | others | ECTS credits |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 4 |  | 30 |  |  |  |  |  |  | 2 |

1.2. Course delivery methods

☒ - conducted in a traditional way

☐ - involving distance education methods and techniques

1.3. Course/Module assessment (exam, pass with a grade, pass without a grade)

☒ - pass without a grade

2. Prerequisites

Fundamentals of atomic physics and nuclear physics. Basics of mathematical analysis (differential and integral calculus).

3. Objectives, Learning Outcomes, Course Content, and Instructional Methods

3.1. Course/Module objectives

| O1 | To familiarize students with the properties of X-rays and the methods of its production for use in X-ray diagnostics |
| --- | --- |
| O2 | To familiarize students with the mechanisms and effects of the interaction of X-rays with matter. |
| O3 | To familiarize students with the construction and principle of operation of modern X-ray diagnostics devices. |
| O4 | To familiarize students with the issues related to radiological protection with using X-rays for diagnostic purposes. |

3.2. Course/Module Learning Outcomes (to be completed by the coordinator)

| Learning Outcome | The description of the learning outcome defined for the course/module | Relation to the degree programme outcomes |
| --- | --- | --- |
| LO_01 | Student distinguishes and characterizes types of ionizing radiation. Can describe natural and artificial sources and methods of producing of X-rays. Characterizes the properties of X-rays. | K_W02 K_W04 K_U10 K_K03 |
| LO_02 | Student knows, lists and characterizes the interaction of X-rays with matter. Lists and describes the positive and negative effects of exposure in the context of applications in X-ray diagnostics (and X-ray therapy). | K_W04 K_U01 K_U10 K_U15 K_K03 |
| LO_03 | Student describes the construction of modern X-ray diagnostics equipment and explains the physical and technical principles of their operation. | K_W04 K_U10 K_K03 |
| LO_04 | The student determines and calculates the permissible doses of X-rays in X-ray diagnostic examinations. He plans technical methods of reducing the intensity of X-rays to the desired and safe value. | K_W02 K_W04 K_U10 K_U14 |

3.3. Course content (to be completed by the coordinator)

- Lectures

Content outline

General characteristics of ionizing radiation - division and types. The history of the discovery of X-rays. Formation and properties of X-rays. The spectrum of electromagnetic waves - the energy range of X-rays. The continuous spectrum and the characteristic spectrum of X-rays. Interaction of X-rays with matter - description of mechanisms. Attenuation of X-ray beam intensity when passing through matter. Linear and mass attenuation coefficient. Half-value layer.

Natural and artificial sources of X-rays. Construction and principle of operation of an X-ray tube with a solid anode. X-ray tubes with a rotating anode - construction and technical solutions. Operating parameters of X-ray tubes.

Construction and principle of operation of devices for conventional X-ray diagnostics - X-ray apparatus, mammograph, pantomograph, densitometer. Theory of the X-ray image. Analog and digital image recording systems.

X-ray computed tomography (CT). Mathematical principles - Radon transformation. Construction of the CT tomography apparatus. Lamps and detectors used in CT devices. Generations of CT tomographs. Methods of tomographic image reconstruction. Directions of development of CT technique.

Safety of X-ray diagnostics examination. Legal regulations and acceptable standards.

- Classes, tutorials/seminars, colloquia, laboratories, practical classes

Content outline

Calculation of X-ray beam intensity attenuation when passing through matter.

Calculation of the linear and mass attenuation coefficient of characteristic X-rays for materials used in X-ray diagnostics techniques.

Calculation of the thickness of the half-value layer.

Calculation of radiation doses.

3.4. Methods of Instruction

e.g.

Lecture: a problem-solving lecture/a lecture supported by a multimedia presentation/ distance learning

Classes: text analysis and discussion/project work (research project, implementation project, practical project)/ group work (problem solving, case study, discussion)/didactic games/ distance learning

Laboratory classes: designing and conducting experiments

Lecture: a problem-solving lecture/a lecture supported by a multimedia presentation

Classes: text analysis and discussion/group work (problem solving, case study, discussion)

4. Assessment Techniques And Criteria

4.1 Methods of evaluating learning outcomes

| Learning outcome | Methods of assessment of learning outcomes (e.g. test, oral exam, written exam, project, report, observation during classes) | Learning format (lectures, classes,…) |
| --- | --- | --- |
| LO-01 | test, observation during classes | lectures, classes |
| LO-o2 | test, observation during classes | lectures, classes |
| LO-03 | test, observation during classes | lectures |
| LO-04 | test, observation during classes | classes |

4.2 Course assessment criteria

The condition for passing is: a) passing a written test from lectures with a positive grade; b) performing the calculation exercises and calculation problems provided for in the plan, passing the test with a positive grade.

5. Total student workload needed to achieve the intended learning outcomes – number of hours and ECTS credits

| Activity | Number of hours |
| --- | --- |
| Scheduled course contact hours | 30 |
| Other contact hours involving the teacher (consultation hours, examinations) | 5 |
| Non-contact hours - student's own work (preparation for classes or examinations, projects, etc.) | 20 |
| Total number of hours | 55 |
| Total number of ECTS credits | 2 |

* One ECTS point corresponds to 25-30 hours of total student workload

6. Internships related to the course/module

| Number of hours | ----- |
| --- | --- |
| Internship regulations and procedures | ----- |

7. Instructional materials

Compulsory literature: - D.R. Dance, S. Christofides, A.D.A. Maidment, I.D. McLean, K.H. Ng, Diagnostic radiology physics: a handbook for teachers and students, International Atomic Energy Agency, 2014.

Complementary literature: - Yoshio Waseda _ Eiichiro Matsubara, Kozo Shinoda, „X-Ray Diffraction Crystallography”, Springer Heidelberg Dordrecht London New York, 2011.

Approved by the Head of the Department or an authorised person